## Slide 1
MULTIPLE BREAK REBAR
Advisor : Prof. K.C.Chang
Presenters : You-Ran Nai

## Slide 2
Incremental Dynamic Analysis with Multi-Modes for Seismic Performance Evaluation of RC Bridges
Prakit Chomchuen, Virote Boonyapinyo
Engineering Structures
February 2017

## Slide 3
WHY ONE YIELDING OCCUR?
5 COLUMNS
SIMULTANEOUSLY YIELDING
5 COLUMNS
SAME HEIGHT
ONE YIELDING

## Slide 4
Incremental dynamic analysis
Dimitrios Vamvatsikos and C. Allin Cornell
EARTHQUAKE ENGINEERING AND STRUCTURAL DYNAMICS
2002
Notes: Department of Civil and Environmental Engineering; Stanford University; CA 94305-4020; U.S.A.

## Slide 5
PBEE FRAMEWORK

## Slide 6
FILL PHASE –
CAPACITY RESOLUTION

## Slide 7
Furthermore, to improve upon the capacity resolution, a simple enhancement is to add a step-reducing routine, for example bisection, when collapse (e.g. non-convergence) is detected, so as to tighten the bracketing of the flatline.
FILL PHASE –
CAPACITY RESOLUTION

## Slide 8
MOMENT DIAGRAM
5
TENSION DEVELOPMENT LENGTH
GRAVITY DEMAND
LOAD PATTERN
REDUCE TO THREE / FOUR POINTS
LINEAR - FROM EXISTING REBAR
2
1
4
3
Notes: - 推估的演算法是用彎矩圖，上層筋以地震力，下層筋以重力與地震力進行多點斷筋。
- 並加上精算法的延伸長度。
- 手動輸入 Gravity 需求。(忽略帶寬、不平均)
- 手動輸入 Gravity 負彎矩偏差比例。Load Pattern Fix fix , fix pin , pin-fix , pin-pin
- 由無限斷筋縮減到有限點斷筋(3 點或 4 點) - 排列組合、分群演算法。

## Slide 9
REDUCE TO THREE POINTS
0.15~0.4
0.6~0.85
FINITE PERMUTATION
0.15~0.4
AVOID EXTREME SITUATION
BEFORE
AFTER
Notes: 換圖案

## Slide 10
FROM EXISTING REBAR (WITHOUT ETABS)
2
1
3
4
ETABS/SAP DEMAND
MULTI-MODES PUSHOVER
NONLINEAR TIME HISTORY ANALYSIS
OUTLINE

## Slide 11
PRECONDITION
GIRDER
LATERAL FORCE(EARTHQUAKE OR WIND)
GRAVITY LOAD(DEAD LIVE)
EARTHQUAKE VERTICAL FORCE
LATERAL EARTH PRESSURE, GROUND WATER PRESSURE, OR PRESSURE OF BULK MATERIALS

## Slide 12
PRECONDITION
BOUNDARY CONDITION
FIX-FIX
PIN-PIN
FIX-PIN
FIX-FREE

## Slide 13
ALGORITHM
INITIAL TOP REBAR

## Slide 14
IMPROVE: BIG DATA
(1) U=1.4D
(2) U=1.2D + 1.6L
(3) U=1.2D + (1.0L or 0.5L)
(4) U=1.2D + 1.6W + (1.0L or 0.5L)
(5) U=1.2D + 1.0E + (1.0L or 0.5L)
(6) U=0.9D + 1.6W
(7) U=0.9D + 1.0E
94%
(SDL + SLAB) LL
BAND SPAN

50%

0.9 * Mn = 0.9 * As * Fy * 0.9d >= Mu
0.9D

SPAN STORY

## Slide 15
(1) U=1.4D
(2) U=1.2D + 1.6L
(3) U=1.2D + (1.0L or 0.5L)
(4) U=1.2D + 1.6W + (1.0L or 0.5L)
(5) U=1.2D + 1.0E + (1.0L or 0.5L)
(6) U=0.9D + 1.6W
(7) U=0.9D + 1.0E
ALGORITHM
GRAVITY LOAD
LATERAL
FORCE

## Slide 16
ALGORITHM
(1) U=1.4D
(2) U=1.2D + 1.6L
(3) U=1.2D + (1.0L or 0.5L)
(4) U=1.2D + 1.6W + (1.0L or 0.5L)
(5) U=1.2D + 1.0E + (1.0L or 0.5L)
(6) U=0.9D + 1.6W
(7) U=0.9D + 1.0E
LATERAL
FORCE
GRAVITY LOAD

## Slide 17
ALGORITHM
CHANGE TO
REBAR NUMBER
LINEAR ADD

## Slide 18
Beam width, cover, Fy, Fyt, Fc’,
Rebar‘s Db, Stirrup’s Db,
Spacing, rebar number
MIN
SIMPLIFIED PROVISIONS
GENERAL DEVELOPMENT LENGTH EQUATION
DEVELOPMENT LENGTH


## Slide 19
ALGORITHM
0.15~0.4
0.6~0.85
FINITE PERMUTATION
0.15~0.4
AVOID EXTREME SITUATION
BEFORE
AFTER
REDUCE TO THREE POINTS
IMPROVE: REDUCE PERMUTATION

## Slide 20
ALGORITHM
INITIAL BOT REBAR

## Slide 21
119%
IMPROVE: BIG DATA
(1) U=1.4D
(2) U=1.2D + 1.6L
(3) U=1.2D + (1.0L or 0.5L)
(4) U=1.2D + 1.6W + (1.0L or 0.5L)
(5) U=1.2D + 1.0E + (1.0L or 0.5L)
(6) U=0.9D + 1.6W
(7) U=0.9D + 1.0E
(SDL + SLAB) LL
BAND SPAN

50%

0.9 * Mn = 0.9 * As * Fy * 0.9d >= Mu
1.2D + 1.6L

SPAN STORY
Notes: Span 較短

## Slide 22
(1) U=1.4D
(2) U=1.2D + 1.6L
(3) U=1.2D + (1.0L or 0.5L)
(4) U=1.2D + 1.6W + (1.0L or 0.5L)
(5) U=1.2D + 1.0E + (1.0L or 0.5L)
(6) U=0.9D + 1.6W
(7) U=0.9D + 1.0E
ALGORITHM
GRAVITY LOAD
LATERAL
FORCE
DIFFERENT FROM TOP

## Slide 23
ALGORITHM
CHANGE TO
REBAR NUMBER
LINEAR ADD

## Slide 24
Beam width, cover, Fy, Fyt, Fc’,
Rebar‘s Db, Stirrup’s Db,
Spacing, rebar number
MIN
SIMPLIFIED PROVISIONS
GENERAL DEVELOPMENT LENGTH EQUATION
DEVELOPMENT LENGTH


## Slide 25
ALGORITHM
0.15~0.4
0.6~0.85
FINITE PERMUTATION
0.15~0.4
AVOID EXTREME SITUATION
BEFORE
AFTER
REDUCE TO THREE POINTS
IMPROVE: REDUCE PERMUTATION

## Slide 26
OTHER CASE
MORE THAN INITIAL REBAR
UNREASONABLE



## Slide 27
OTHER CASE
1/3
MAX
MAX
MAX
1/4
2/3
3/4
1/4
3/4


## Slide 28
Beam width, cover, Fy, Fyt, Fc’,
Rebar‘s Db, Stirrup’s Db,
Spacing, rebar number
MIN
SIMPLIFIED PROVISIONS
GENERAL DEVELOPMENT LENGTH EQUATION
DEVELOPMENT LENGTH


## Slide 29
BEFORE
AFTER
IMPROVE: CONSTRUCTION COST ASSESSMENT
=
+

## Slide 31
Chart: 下層
初始斷筋 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
多點斷筋 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
多點斷筋 + 延伸長度 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
多點斷筋 + 延伸長度 修正 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
三點斷筋 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
Chart: 上層
初始斷筋 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7
多點斷筋 | 7 | 7 | 6 | 6 | 5 | 5 | 5 | 5 | 4 | 4 | 4 | 4 | 4 | 3 | 3 | 3 | 3 | 3 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 3 | 3 | 3 | 3 | 3 | 3 | 4 | 4 | 4 | 4 | 4 | 5 | 5 | 5 | 5 | 6 | 6 | 7 | 7
多點斷筋 + 延伸長度 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 6 | 5 | 5 | 5 | 4 | 4 | 4 | 4 | 4 | 3 | 3 | 3 | 3 | 3 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 3 | 3 | 3 | 3 | 3 | 3 | 4 | 4 | 4 | 4 | 4 | 5 | 5 | 5 | 6 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7
多點斷筋 + 延伸長度 修正 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 6 | 5 | 5 | 5 | 4 | 4 | 4 | 4 | 4 | 3 | 3 | 3 | 3 | 3 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 3 | 3 | 3 | 3 | 3 | 3 | 4 | 4 | 4 | 4 | 4 | 5 | 5 | 5 | 6 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7
三點斷筋 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7
62.4%
75.9%
91.8%
95.5%
98.2%

## Slide 33
DONE
REDUCE TO THREE / FOUR POINTS
NEXT
ETABS/SAP DEMAND
NEXT
BIG DATA
12/2018
MULTI-MODES PUSHOVER
NEXT
IMPROVE STABILITY AND PERFORMANCE
2019
NONLINEAR TIME HISTORY ANALYSIS
Roadmap

## Slide 34
Punchline of your project in a few words
Here is the subline, explain your project in 2-3 lines so that we clearly understand the value proposal.

## Slide 35
The problem you want to solve

## Slide 36
Today’s solutions

## Slide 37
Difficult to implement
Why it doesn’t work
Expensive for small businesses
Zero customization

## Slide 38
Your solution

## Slide 40
Your solution

## Slide 41
Your solution

## Slide 42
Your solution

## Slide 44
Your solution

## Slide 45
Awesome map feature
Awesome like feature
Awesome battery feature
Awesome features

## Slide 46
Very Easy Step 1
2
1
3
4
5
Very Easy Step 2
Very Easy Step 3
Very Easy Step 4
Very Easy Step 5
Use case

## Slide 47
Make things really change
Value Proposal
Make the world a better place
Offer one perfect answer
This is how we are going to make this happen in a beautiful way.
This is how we are going to make this happen in a beautiful way.
This is how we are going to make this happen in a beautiful way.

## Slide 48
Market Sizing
$36b
Total World Market
$12b
Total US Market
$2b
Total FR Market
Source : source.io
Source : source.io
Source : source.io

## Slide 49
Chart: 
| 2012 | 2013 | 2014 | 2015
Series 1 | 0.8 | 1 | 3 | 4
Market Sizing (in €billions)
Market Size over Time

## Slide 50
Market on Map
$2b
$1b

## Slide 51
Chart: 
| 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Series 1 | 0.007 | 0.029 | 0.061 | 0.109 | 0.17 | 0.289 | 0.334
Mobile Internet Usage
Why Now ?

## Slide 52
Young adults
25-35 years old
Students
15-20 years old
Customer Profiles

## Slide 53
Competitors

## Slide 54
competitor
competitor
competitor
competitor
competitor
competitor
Your company
AXIS 2
AXIS 2
AXIS 1
AXIS 1

## Slide 55
 | YOUR COMPANY | COMPETITOR 1 | COMPETITOR 2 | COMPETITOR 3
feature 1 |  |  |  | 
feature 2 |  |  |  | 
feature 3 |  |  |  | 
feature 4 |  |  |  | 
feature 5 |  |  |  | 
feature 6 |  |  |  | 

## Slide 56
800
Paying users
$150,000
Monthly Recurring
Revenue
97%
Margin
85,000
Users growing 45% per month
94%
Recurring users
54
API Integrations
Metrics

## Slide 57
Conversion Rate
Chart: 
| Visited site | Signed up | Activation | Billed
Visitors | 21000 | 1200 | 229 | 56
0,27%

## Slide 58
Split Budget
Chart: 
| Marketing | Research | Sales | Design | Hiring
Sales | 6 | 3.2 | 1.4 | 1.2 | 3

## Slide 59
Marketing
Research
Sales
Design
Hiring
29%
69%
75%
30%
29%
Split Budget

## Slide 60
Forecast
Chart: 
| Month 1 | Month 3 | Month 6 | Month 9 | Month 12 | Month 15 | Month 18
Revenue | 1000 | 2000 | 5000 | 50000 | 300000 | 500000 | 600000
Expenses | 100000 | 50000 | 50000 | 100000 | 150000 | 200000 | 220000

## Slide 61
Financial Table
 | 2016 | 2017 | 2018 | 2019 | 2020
Sales | 0 | 50 | 400 | 1000 | 3000
Revenue | - | $100 000 | $800 000 | $2 000 000 | $6 000 000
Gross Margin (%) | - | 49% | 51% | 53% | 58%
Expenses | - | $128 000 | $450 000 | $800 000 | $1 200 000
Net Profit | - | $-28,000 | $350 000 | $1 200 000 | $4 800 000
Profit Margin (%) | - | -28% | 44% | 60% | 80%

## Slide 62
Outstanding Founders
Dave Lopper CTO
Google
Facebook
Stanford
Come Mertial CEO
Microsoft
SalesForce
HEC Paris
Tran Zition
CPO
Uber
Awwwards
MIT Media Lab

## Slide 63
Advisors and Directors
Tomy Lamousse
PR Advisor
Mashable
Jérémy Vestiaire
Financial Advisor
Goldman Sachs
Oudam Dadam
Machine Learning Enthousiast
SpaceX
Jey Bestelgram
Product Advisor
Amazon
Lam Ontarelle
UX Contributor
Slidor
Renaude Yorella
Board Member
Sequoia Capital
Vince Lacluze
UI Director
Snapchat
Laurence Marc
Board Member
Accel Partners

## Slide 64
01/2016
Introduction
02/2016
Market Overview
03/2016
Partnerships
05/2016
Beta
04/2016
Pre-Release
06/2016
Launch
Roadmap

## Slide 65
Say you want to make the world a better place

## Slide 66
Icons

## Slide 67
Icons

## Slide 68
Social

## Slide 69
Red
50
100
200
300
400
500
600
700
800
900
A100
A200
A400
A700
Pink
50
100
200
300
400
500
600
700
800
900
A100
A200
A400
A700
Purple
50
100
200
300
400
500
600
700
800
900
A100
A200
A400
A700
Deep Purple
50
100
200
300
400
500
600
700
800
900
A100
A200
A400
A700
Indigo
50
100
200
300
400
500
600
700
800
900
A100
A200
A400
A700
Blue
50
100
200
300
400
500
600
700
800
900
A100
A200
A400
A700
Light Blue
50
100
200
300
400
500
600
700
800
900
A100
A200
A400
A700
Cyan
50
100
200
300
400
500
600
700
800
900
A100
A200
A400
A700
Teal
50
100
200
300
400
500
600
700
800
900
A100
A200
A400
A700
Green
50
100
200
300
400
500
600
700
800
900
A100
A200
A400
A700
Light Green
50
100
200
300
400
500
600
700
800
900
A100
A200
A400
A700
Lime
50
100
200
300
400
500
600
700
800
900
A100
A200
A400
A700
Yellow
50
100
200
300
400
500
600
700
800
900
A100
A200
A400
A700
Amber
50
100
200
300
400
500
600
700
800
900
A100
A200
A400
A700
Orange
50
100
200
300
400
500
600
700
800
900
A100
A200
A400
A700
Deep Orange
50
100
200
300
400
500
600
700
800
900
A100
A200
A400
A700

## Slide 70
Gradient 1

## Slide 71
Gradient 2

## Slide 72
Gradient 3

## Slide 73
Gradient 4

## Slide 74
Gradient 5